## Slide 1: EnergyPlus Basics

## Slide 2: Content
Interface
Algorithm
Building Scheme
Output File

## Slide 3: EnergyPlus Interface – EP-Launch
Input file:
Choose input file
Edit input file via:
  Test
  IDF-Editor
Weather file
Results:
Sheets;
Texts;
HTML;
DXF;

## Slide 4: EnergyPlus Interface – IDF-Editor
Classes
Edit Menu
Objects
Field Description

## Slide 5: EnergyPlus Interface – Classes
Simulation parameters
Compliance object
Location and climate
Schedules
Surface construction element
Thermal zones and surfaces
Advanced construction, surface, zone concepts
Detailed ground heat transfer
Room air models
Internal gains
Daylighting
Zone airflow
Natural ventilation and duct leakage
Exterior equipment
HVAC templates
HVAC design object
Zone HVAC controls and thermostats
Zone HVAC forced air units
Zone HVAC radiative/convective units
Zone HVAC air loop
Zone HVAC equipment connections
Fans
Coils
Evaporative coolers
Humidifiers and dehumidifiers
Heat recovery
Unitary equipment
Variable refrigerant flow equipment
Controllers
Air distribution
Node-branch management
Pumps
Plant-condenser flow control
Non-zone equipment
Solar collectors
Plant heating and cooling equipment
Condenser equipment and heat exchangers
Water heaters and thermal storage
Plant-condenser loops
Plant-condenser control
Energy management system
External interface
User defined HVAC and plant component models
System availability managers
Setpoint managers
Refrigeration
Demand limiting controls
Electric load center-generator specifications
Water system
Operational faults
General data entry
Hybrid model
Performance curves
Performance tables
Fluid properties
Economics
Parametrics
Output reporting

## Slide 6: Algorithm – General Model

## Slide 7: Algorithm
Engineering Reference: https://energyplus.net/sites/default/files/pdfs_v8.3.0/EngineeringReference.pdf
  Integrated solution manager
  Surface heat balance manager/processes
  Climate, sky and solar/shading calculations
  Solar radiation reflected from exterior surfaces
  Daylighting and window calculations
  Air heat balance manager/processes
  Building system simulation system manager/processes
  Loop, equipment sizing and other design data
  Demand limiting
  Alternative modeling processes
  Performance curves and lookup tables
  Economics calculation
  Special modules/reporting
  Operational faults
  Simulation models – encyclopedia reference

## Slide 8: Building Scheme
Simulation control:
  Algorithms;
  Simulation period;
  Timestep
Construction:
  Zone;
  Building/room geometry;
  Wall/roof/floor material;
  Location;
HVAC system:
  System type;
  Scheduling;
Occupancy:
  Scheduling;
Weather:
  Ground temperature;
  Weather file;

## Slide 9: Output Files
Tables (HTML form)
Errors
RDD
Spreadsheets
Drawing files:
  DXF – drawing of building surfaces
  SVG – block diagram of HVAC system components